## channel_01ii_raw_data
Resistance | Calculation Method
121.4822 | A
130.3422 | A
149.8639 | A
260.7745 | A
272.8862 | A
165.954 | A
149.0274 | A
226.4816 | A
276.3867 | A
144.7624 | A
213.6503 | A
215.6364 | A
201.6028 | A
248.3638 | A
161.9563 | A
152.5038 | A
209.313 | A
128.4134 | A
147.8259 | A
135.0347 | A
219.7437 | A
186.3266 | A
213.3768 | A
142.6824 | A
170.6358 | A
167.4261 | A
| A | 99999
116.7876 | A
124.81 | A
158.0073 | A
138.9255 | A
138.8054 | A
183.9598 | A
161.9146 | A
197.6853 | A
154.5794 | A
164.0249 | A
206.3339 | A
164.758 | A
182.4665 | A
211.6707 | A
198.3068 | A
157.3449 | A
111.0658 | A
112.8964 | A
200.2644 | A
107.2718 | A
165.3242 | A
113.8905 | A
123.5037 | A
113.0492 | A
117.0185 | A | 1 bad meas
122.5698 | A | 167.4282 | avga
114.0053 | A | 43.6716 | stdevaa
141.5346 | B
195.2721 | B
130.7761 | B
139.5265 | B
140.9716 | B
225.365 | B
150.4767 | B
175.3775 | B
197.1088 | B
177.0452 | B
135.6116 | B
140.4092 | B
119.5647 | B
164.4018 | B
144.2569 | B
146.5254 | B
165.0306 | B
184.7839 | B
160.6439 | B
276.6141 | B
216.0024 | B
152.0527 | B
192.8688 | B
182.1856 | B
110.438 | B
121.3658 | B
125.2982 | B
160.2071 | B
163.6901 | B
160.4358 | B
178.1598 | B
175.8046 | B
120.7454 | B
127.1966 | B
234.9701 | B
186.762 | B
132.6538 | B
209.7657 | B
309.6998 | B
212.1479 | B
117.211 | B
124.9271 | B
110.5521 | B
146.8909 | B
145.8155 | B
172.0563 | B
123.0949 | B
118.0394 | B
124.4588 | B
111.8088 | B | 0 bad meas
124.1272 | B | 160.1607 | avgb
125.6305 | B | 41.5597 | stdevb
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.